## PHE FAQ's
FF Frequently Asked Questions
Sr. No. | Questions | Answers
1 | Classification of Building based on Occupancy | Refer section 3.1 of NBC Volume-I, Part 4, Fire and Life Safety
2 | How to determine minimum fire fighting requirements for any building ? | Refer section Table 7 from NBC Volume-I, Part 4, Fire and Life Safety
3 | How to derive FF tank capacity ? | We should derive the same from the followings based on preference & priority : CFO NOC > DCPR/UDCPR > NBC > Calculation
4 | What is Basement compartmentation ? When to do it ? | Refer section 4.5 of NBC Volume-I, Part 4, Fire and Life Safety
5 | What are the points to be taken care while planning for FF Pump room ? | Refer section 5.1.2.2 of NBC Volume-I, Part 4, Fire and Life Safety
6 | What are the requirements for Automatic Sprinkler designing ? | Refer section 5.1.3 of NBC Volume-I, Part 4, Fire and Life Safety & IS 15105 (2021)